## Pregled obstoječe raz. opreme
Angleški prevod naziva in namembnosti opreme vnesite v zavihek "Overview of research equipment". Preostale vsebine stolpcev se v omenjenem zavihku dopolnijo samodejno.
Zaporedna številka opreme se sestoji: <kratica fakultete>.<leto nabave>.<zaporedna štev. glede na datum nakupa znotraj posameznega leta>.<IP-če je oprema vključena v infrastrukturni program UM>
Interna zaporedna štev. opreme (samodejni vnos) | Zap. štev. opreme glede na dobavo v posameznem letu | IP (vnesite IP, če je oprema je vključena v infrastrukturni program UM) | Članica UM | Naziv opreme | Namembnost opreme | Skrbnik opreme | Leto nabave | Nabavna vrednost | Vir (so)financiranja | Cena najema na uro brez DDV za izkušene uporabnike - samostojna uporaba | Cena najema na uro brez DDV za neizkušene uporabnike - uporaba s pomočjo kadra FE
FE.2023.1 | 1 |  | FE | SIRIUSi XHS 4x HV, 4x LV, 8X CNT (SISTEM ZA NEPREKINJENO ZAJEMANJE IN SHRANJEVANJE MERILNIH PODATKOV Z VISOKO HITROSTJO IN VISOKO LOČLJIVOSTJO) | Sistem za neprekinjeno zajemanje in shranjevanje merilnih podatkov z visoko hitrostjo in visoko ločljivostjo (4 napetostni HV in 4 tokovni LV med seboj izolirani analogni vhodi, 8 števnih vhodov za zajemanje podatkov iz merilnih senzorjev, hitrost vzorčenja 15 MS/s, vmesniki CAN, USB 3.0, GLAN, napajalnik merilnega sistema in vizualizacija merilnih signalov). | Bojan Štumberger | 2023 | 26005.68 | 7 (80%), 10 (20%) | 45 | 125
FE.2022.1. | 1 |  | FE | KOMPLET ZA VZORČENJE, MLETJE IN STISKANJE | Priprava vzorcev za kemično analizo | Zdravko Praunseis | 2022 | 7156.63 | 7 (80%), 10 (20%) | 45 | 125
FE.2022.2. | 2 |  | FE | MERILNI SISTEM ZA MERJENJE HITROSTI TOKA PDA | Sistem za neinvazivno merjenje velikosti mehurčkov in 1 komponente hitrosti toka tekočine z lasersko dopplerjevo anemometrijo. | Matej Fike | 2022 | 98673.69 | 7 (80%), 10 (20%) | 45 | 85
FE.2022.3. | 3 |  | FE | MERILNI SISTEM ZA MERJENJE HITROSTI TOKA PIV | Sistem za neinvazivno merjenje 3 komponent vseh treh komponet hitrosti toka fluida. | Matej Fike | 2022 | 208316.51 | 7 (80%), 10 (20%) | 45 | 85
FE.2021.1. | 1 |  | FE | ENOSMERNI REGULIRAN VIR | Enosmerni napajalni sistem sestavljajo programabilni dvosmerni vodno hlajeni 240 kW enosmerni napajalni vir (DC) z notranjim generatorjem oblike napetosti in 200 kW vodno hlajeni DC/AC pretvornik. Enosmerni napajalni sistem je primeren za simulacije razpršenih virov, simulacije baterijskih sistemov in aplikacije e-mobilnosti. | Bojan Štumberger | 2021 | 442376.12 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.2. | 2 |  | FE | FREKVENČNI PRETVORNIK 160 kW | Frekvenčni pretvornik (160 kW) primeren za napajanje indukcijskih motorjev, sinhronskih motorjev s trajnimi magneti, sinhronskih reluktančnih motorjev s trajnimi magneti in sinhronskih reluktančnih motorjev s primernimi odprto in zaprto zančnimi algoritmi vodenja. | Bojan Štumberger | 2021 | 81456.88 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.3. | 3 |  | FE | NAPREDNI MERILNI SISTEM ZA MERITEV PROIZVODNJE ELEKTRIČNE ENERGIJE RAZPRŠENIH VIROV | Merilni sistem za merjenje AC in DC električnih veličin na dvoosnih fotonapetostnih sledilnih sistemih. Merilni sistem je vključno z obstoječim merilni sistem za merjenje meteoroloških parametrov povezan na SCADA sistem, ki omogoča enostaven monitoring in zajem podatkov za nadaljne analize. | Sebastijan Seme | 2021 | 73999.92 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.4. | 4 |  | FE | TERMOELEKTRIČNI SONČNI SISTEM | Termoelektrični sončni sistem zagotavlja proizvodnjo električne in toplotne energije. Toplotna energija se shranjuje v hranilniku toplotne energije oziroma zalogovniku za dodatne potrebe po ogrevanju. V sistem je vključen tudi hladilni agregat, ki skrbi za dodatno varnost v primeru visokih temperatur v hranilniku toplotne energije. Podatki meritev so povezani na nadzirni sistem SCADA, ki omogoča enostaven monitoring in zajem podatkov za nadaljne analize. | Sebastijan Seme | 2021 | 54592.26 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.5. | 5 |  | FE | HRANILNIK ELEKTRIČNE ENERGIJE | Hranilnik električne energije z baterijskim modulom je povezan s termoelektričnim sončnim sistemom in skrbi za porabo električne energije samooskrbnega energetskega objekta. Podatki meritev so povezani na nadzirni sistem SCADA, ki omogoča enostaven monitoring in zajem podatkov za nadaljne analize. | Sebastijan Seme | 2021 | 27569.03 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.6. | 6 |  | FE | VARILNA ROBOTSKA CELICA VRC FD B6 1GM/1d | Varilna 6 osna robotska celica s premično komoro omogoča visoko senzorično aktivnost detekcije oblike varjenca in visoko kvaliteto varjenja. | Zdravko Praunseis | 2021 | 119489.56 | 7 (80%), 10 (20%) | 45 | 125
FE.2021.7. | 7 |  | FE | PREIZKUŠEVALNA TEMPERATURNA KOMORA ZA LOMNOMEHANSKI STROJ | Preizkuševalna temperaturna komora omogoča specialno preizkušanje vseh vrst materialov v temperaturne mobmočju od -180 do 1250 stopinj celzija. | Zdravko Praunseis | 2021 | 210169.37 | 7 (80%), 10 (20%) | 45 | 125
FE.2015.1. | 1 |  | FE | ELEKTRIČNI STROJ IN POGON (KONTROLNE ENOTE, NAPAJALNA ENOTA, ELEKTRARNA, 3D NASTAVLJIVE DELOVNE MIZE, MERILNA MESTA): 670 kVA SINHRONSKI GENERATOR; SENZORJI MOMENTA (8 KOM), MERILNE GREDI, KABLI, SKLOPKE; MERILNO MESTO 1 (merjenci do 192 kW pri 1500 vrt/min, maksimalna hitrost vrtenja 2200 vrt/min); MERILNO MESTO 2 (merjenci do 70 kW, maksimalna hitrost vrtenja 15000 vrt/min); MERILNO MESTO 3 (merjenci do 5 kW, maksimalna hitrost 30000 vrt/min). | Merilna mesta za razvoj in raziskovanje na področju visoko učinkovitih električnih strojev in pogonov (merilno mesto moči do 192 kW pri hitrosti vrtenja 1500 vrt/min, merilno mesto za merjence moči do 70 kW pri hitrosti vrtenja 15000 vrt/min, merilno mesto za merjence moči do 5 kW z maksimalno hitrostjo vrtenja 30000 vrt/min). | Miralem Hadžiselimović | 2015 | 597065.85 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.2. | 2 |  | FE | 3D TISKALNIK ENVISIONTEC PERFACTORY XEDE 3SP | Visoko kakovosten 3D print; večji kosi do 450x450x450. | Gorazd Hren | 2015 | 333230.63 | 7 (85%), 10 (15%) | / | 125
FE.2015.3. | 3 |  | FE | SISTEM ZA KVANTITATIVNO DOLOČEVANJE VSEBNOSTI V MATERIALU, DOLOČEVANJE KALORIMETRIČNIH VREDNOSTI TRD | Eksperimentalno raziskovalno delo na področju termodinamike. | Jurij Avsec | 2015 | 305835.89 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.4. | 4 |  | FE | POLJE SONČNIH ELEKTRARN (SLEDILNE SONČNE ELEKTRARNE) S SENZORIKO | Sončne elektrarne skupne inštalirane moči 55 kW. Pri tem so uporabljeni različni tipi sončnih modulov (polikristalni, monokristalni) in različni tipi razsmernikov. | Sebastijan Seme | 2015 | 235856.05 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.5. | 5 |  | FE | DVOZASLONSKI SISTEM ZA INTERAKTIVNO 3D VIZUALIZACIJO | Visoko kvaliteten sistem za navidezno resničnost. | Gorazd Hren | 2015 | 194493.7 | 7 (85%), 10 (15%) | / | 125
FE.2015.6. | 6 |  | FE | VISOKO ZMOGLJIV RAČUNALNIŠKI SISTEM | 12 kom računskih strežnikov s karakteristikami: - 2 x procesor Intel E5-2650v3, vsak s po 10 jedri in hitrostjo vsaj 2.3 GHz; - 10 x pomnilniški modul 8GB in hitrostjo DDR4-17000; - 1x trdi disk 1TB; - 2 kom prijavna upravljavska strežnika s karakteristikami; - 1 x procesor E5-2640v3; - 4 x pomnilniški modul, vsak velikosti 16 GB in hitrostjo DDR4-17000; - 6 x trdi disk 600 GB SAS 10k RPM v RAID-5; - redundantno električno napajanje; - redundantna povezava na zunanji diskovni sistem (8Gb FC); - 1 kom diskovni sistem s karakteristikami; - 90 TB surove (raw) kapacitete, diskovni moduli 4TB; - redundantno električno napajanje; - 8 kom raziskovalne delovne postaje s karakteristikami; - 2 Procesorja E5-2640L v3 – 2,6GHz; - 32GB DDR4 pomnilnik; - Trdi disk 1TB; - Grafična kartica NVIDIA Quadro K2200 4GB. | Sebastijan Seme | 2015 | 178485.39 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.7. | 7 |  | FE | LOMNOMEHANSKI STROJ ZWICK Z100THW Z OPREMO | Lomno mehansko preizkušanje materialov. | Zdravko Praunseis | 2015 | 160675.39 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.8. | 8 |  | FE | VAKUMSKI SISTEM ZA NAPAREVANJE NANO 36 | Vakumsko nanašanje polprevodniške tanke plasti za senzorje nevtronov. | Bruno Cvikl | 2015 | 125467.51 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.9. | 9 |  | FE | 2D LDA SYSTEM: 2D FLOWEXPLORER, SPECTRUM | Sistem za neinvazivno merjenje 2 komponent hitrosti toka tekočine z lasersko dopplerjevo anemometrijo. | Matej Fike | 2015 | 108191.2 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.10. | 10 |  | FE | SKENER S 3D KAMERO ZA ANALIZO TRAJNIH MAGNETOV | 3D snemanje magnetnih polj trajnih magnetov. | Peter Virtič | 2015 | 93395.25 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.11. | 11 |  | FE | VODNA MERILNA PROGA | Vodna testna proga. | Andrej Predin | 2015 | 78836 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.12. | 12 |  | FE | MERILNI SISTEM ZA MERJENJE MAGNETNIH LASTNOSTI MEHKOMAGNETNIH MATERIALOV | Merjenje BH karakteristik mehko magnetnih materialov. | Peter Virtič | 2015 | 60643.44 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.13. | 13 |  | FE | EKSPERIMENTALNI SISTEM ZA MERJENJE ELEKTRIČNIH STROJEV ZA ELEKTRIČNA ŠTIRIKOLESNA IN DVOKOLESNA VOZI | Simultano merjenje veličin pri testiranju električnih strojev. | Peter Virtič | 2015 | 50778 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.14. | 14 |  | FE | ZRAČNA MERILNA PROGA (VETROVNIK) | Zračna testna proga. | Andrej Predin | 2015 | 48744 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.15. | 15 |  | FE | MERILNIK TANKIH PLASTI - PROFILMETER ALPHASTEP D-500 STYLUS PROFILER | Merilnik debeline nanosa tankih polprevodniških plasti. | Bruno Cvikl | 2015 | 46357.02 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.16. | 16 |  | FE | SISTEM ZA PARAMETRIZACIJO POLPREVODNIKOV | Karakterizacija polprevodniških senzorjev jedrskega sevanja. | Bruno Cvikl | 2015 | 40944.96 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.17. | 17 |  | FE | ANALIZATOR VEZIJ KEYSIGHT 2-VHODNA IZVEDBA 9KHZ DO 9 GHZ Z NAPAJALNIM VEZJEM | Analizator vezij, 2-vhodna izvedba 9KHZ do 9 GHZ z napajalnim vezjem. | Miralem Hadžiselimović | 2015 | 40349.65 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.18. | 18 |  | FE | PROGRAM ANSYS MULTIPHYSICS CAMPUS SOLUTION 10/100 | Programski paket za numerične simulacije. | Gorazd Hren | 2015 | 36995.4 | 7 (85%), 10 (15%) | / | /
FE.2015.19. | 19 |  | FE | ANALIZATOR MOČI WT1806 | Simultano merjenje električnih veličin. | Peter Virtič | 2015 | 35888.68 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.20. | 20 |  | FE | ANALIZATOR MOČI WT1806 | WT1800 ponuja inovativne merilne funkcije za preskušanje učinkovitosti izdelkov in načrtovanje pretvornikov, motornih pogonov, sistemov razsvetljave, napajalnih napetosti, napajalnih sistemov, preizkušanja transformatorjev in drugih naprav za pretvorbo energije. Čeprav je WT1800 še vedno na voljo, novejša WT1800E ponuja večjo natančnost merjenja moči. | Miralem Hadžiselimović | 2015 | 35888.68 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.21. | 21 |  | FE | PRENOSNI XRF SPEKTRALNI ANALIZATOR MATERIALOV NITON XL3T 980 GOLDD+ | Kemična analiza materialov. | Zdravko Praunseis | 2015 | 32766.92 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.22. | 22 |  | FE | OPTIČNI MIKROSKOP ZA PREISKAVO MATERIALOV ZEISS AXIO IMAGER A2M & AXIO VISION SE64, 6-POZICIJSKI OBJ | Optična mikroskopija. | Zdravko Praunseis | 2015 | 32198.46 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.23. | 23 |  | FE | 3D TRAVERSING SYSTEM: MECHANISM RANGE, CONTROLLER, LINE VOLTAGE 100-250V | Merilni sistem – pogon. | Andrej Predin | 2015 | 25605.02 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.24. | 24 |  | FE | STACIONARNI MERILEC TRDOTE VICKERS VH1150 | Merjenje mikro trdot. | Zdravko Praunseis | 2015 | 20275.24 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.25. | 25 |  | FE | ŠTIRICILINDRSKI DIESELSKI MOTOR | Raziskovalno in pedagoško delo na motorjih z notranjim zgorevanjem. | Jurij Avsec | 2015 | 20069.4 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.26. | 26 |  | FE | ULTRAZVOČNI MERILNIK ZA DETEKTIRANJE PUŠČANJA V TLAČNIH ALI VAKUMSKIH SISTEMIH ULTRAPROBE 15000 | Ultraprobe® 15,000 ima trpežen, trden in enostaven za čiščenje operacijski sistem z zaslonom na dotik. Digitalna tehnologija ponuja možnost, da ste vedno od 1 do 3 klikov do točke, kjer morate biti, zato je to najučinkovitejše orodje za ultrazvočni pregled na svetu. | Miralem Hadžiselimović | 2015 | 19428.63 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.27. | 27 |  | FE | GABI PROGRAMSKI PAKET ZA IZDELAVO OCEN ŽIVLJENJSKEGA CIKLA S PODATKOVNO BAZO ECOINVENT | Programska oprema za izdelavo ocen življenjskega cikla (LCA). | Peter Virtič | 2015 | 18890.63 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.28. | 28 |  | FE | TERMIČNA KAMERA TESTO 890-2 | Pregledi stavb. | Zdravko Praunseis | 2015 | 16321.55 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.29. | 29 |  | FE | KVADROKOPTERSKI SISTEM SKYHERO ZA TERMOVIZIJSKE PREGLEDE STAVB | Brezpilotni multirotorski sistem (dron) z optično in termalno kamero in z zemeljsko postajo. | Miralem Hadžiselimović | 2015 | 16228.17 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.30. | 30 |  | FE | OSCILOSKOP KEYSIGHT, 1GHZ, DSOX3APPBNDL, NAPAJALNIK N2779 Z DODATKI | DSOX3APPBNDL je aplikacijski paket za osciloskope serije InfiniiVision 3000 X. Zagotavlja vrhunsko vizualizacijo vašega signala z najhitrejšo hitrostjo posodabljanja valovne oblike in največjim prikazom v tem razredu. Vrhunska integracija instrumentov z močjo do 5 integriranih instrumentov: osciloskop, digitalni kanali (MSO), integrirani generator funkcije WaveGen , generator poljubne valovne oblike, integrirani digitalni voltmeter in serijski analizator protokolov. | Miralem Hadžiselimović | 2015 | 16090.98 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.31. | 31 |  | FE | ALFA SPEKTROMETER SINGLE INPUT NIM SPECTOMETER, 450 MM2 LOW-BACKGROUND ULTRA-AS DETECTOR, PORTABLE P | Jedrska spektroskopija na osnovi žarkov alfa vzorcev iz okolja. | Bruno Cvikl | 2015 | 16085.27 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.32. | 32 |  | FE | PROGRAMSKA OPREMA ZA ELEKTROMAGNETNO ANALIZO SPEED | Programska oprema za elektromagnetno analizo električnih strojev. | Peter Virtič | 2015 | 15112.5 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.33. | 33 |  | FE | AVTOMATSKI APARAT ZA BRUŠENJE IN POLIRANJE ECOMET 250 PRO + AUTOMET 250 PRO, ALUMINJASTA PLOŠČA, FER | Poliranje vzorcev. | Zdravko Praunseis | 2015 | 15101.99 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.34. | 34 |  | FE | MOTORSKI MODUL 160KW | Električni pogon. | Andrej Predin | 2015 | 15094.15 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.35. | 35 |  | FE | SCINTILACIJSKI DETEKTOR LABR3 (CE) | Jedrska spektroskopija vzorcev iz okolja na osnovi žarkov gama. | Bruno Cvikl | 2015 | 14967.52 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.36. | 36 |  | FE | ELEKTRIČNA POLNILNA POSTAJA | Oprema je namenjena polnjenju električnih vozil. Na polnilni postaji se lahko izvajajo meritve vpliva polnjenja na elektroenergetsko omrežje. | Sebastijan Seme | 2015 | 14680.23 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.37. | 37 |  | FE | SENZOR VRTILNEGA MOMENTA 1KNM | Merjenje vrtilnega momenta. | Peter Virtič | 2015 | 14504.37 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.38. | 38 |  | FE | MEHANSKE SKLOPKE - 19 KOM | Mehanske sklopke. | Miralem Hadžiselimović | 2015 | 14465.6 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.39. | 39 |  | FE | AVTOTRANSFORMATOR | Avtotransformator, 180 kVA, 400 V, 50 Hz, 60 A | Miralem Hadžiselimović | 2015 | 14362.92 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.40. | 40 |  | FE | ANALIZATOR DIMNIH PLINOV TESTO 350 + PROGRAMSKA OPREMA + KOVČEK | Analiza dimnih plinov. | Zdravko Praunseis | 2015 | 13881.8 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.41. | 41 |  | FE | BREZŽIČNI SENZOR VRTILNEGA MOMENTA ZA VGRADNJO V KOLO | Merjenje navora na kolesu. | Peter Virtič | 2015 | 13383.63 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.42. | 42 |  | FE | DIGITALNI ULTRAZVOČNI APARAT USM 36 S Z UM31, MB 4 S, MSEB 4, MWB45-4, MWB 60-4, MWB 70-4, PKLL2, MP | Neporušna defektoskopija. | Zdravko Praunseis | 2015 | 12528.14 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.43. | 43 |  | FE | NAMIZNI REZALNIK ZA KOVINE ABRASIMET 250, SISTEM ZA HLADITEV REZALNE PLOŠČE 60L, DRSNI PRIMEŽ LEVI | Rezanje vzorcev. | Zdravko Praunseis | 2015 | 11705.6 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.44. | 44 |  | FE | CENTRIRNA NAPRAVA - 4 KOM | Centriranje. | Peter Virtič | 2015 | 11442.53 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.45. | 45 |  | FE | AMBE NEVTRONSKI VIR CF-252, ZAČETNA AKTIVNOST 185KBQ | Izvor nevtronov za karakterizacijo senzorjev jedrskega sevanja. | Bruno Cvikl | 2015 | 11144.39 | 7 (85%), 10 (15%) | Se ne posoja, ker ni predvideno v dovoljenju za izvajanje sevalne dejavnosti. | Uporaba omejena na dejavnost predvideno v dovoljenju za izvajanje sevalne dejavnosti.
FE.2015.46. | 46 |  | FE | KVADROKOPTERSKI SISTEM NIGHTHAWK THERMAL P2 AERIAL KIT | Termovizijski pregledi energetskih objektov na večjih višinah. | Jurij Avsec | 2015 | 10666.76 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.47. | 47 |  | FE | ANALIZATOR VIBRACIJ FLUKE 810 | Merjenje vibracij rotirajočih sistemov. | Jurij Avsec | 2015 | 10309.14 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.48. | 48 |  | FE | MOBILNA VEČ FUNKCIJSKA ENOTA (MERILNI INSTRUMENT)S POVEZANIMI INSTRUMENTI: MERILNIK PRETOKA, MERILNA | Merjenje porabe in energetska analiza izračunov uhajanja v sistemih na stisnjen zrak (merilnik pretoka, merilna sonda, merilnik vlažnosti (vključno z merilno komoro), tlačni senzor (0-16bar), merilne klešče). | Miralem Hadžiselimović | 2015 | 10166.48 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.49. | 49 |  | FE | MOBILNI DIAGNOSTIČNI SISTEM BOSCH KTS 990 | Diagnoza motorjev. | Zdravko Praunseis | 2015 | 10063.78 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.50. | 50 |  | FE | PRENOSNI ULTRAZVOČNI MERILNIK PRETOKA KATFLOW230 Z OBJEMNIMI SENZORJI | KATflow 230 je lahko prenosljiv, vendar vsebuje napredne specifikacije za situacije, ki zahtevajo obsežne merilne lastnosti in enostavno upravljanje. Merilnik pretoka ima dva merilna kanala, ki mu omogočata istočasno spremljanje dveh cevi ali izboljšanje natančnosti v neidealnih pogojih. KATflow 230 lahko dobite tudi z različnimi možnostmi, ki izpolnjujejo najrazličnejše zahteve uporabe. | Miralem Hadžiselimović | 2015 | 9563.19 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.51. | 51 |  | FE | PROGRAMSKA OPREMA ZA ANALIZO ALFA SPEKTROV ALPHAVISION | Jedrska spektroskopija vzorcev iz okolja. | Bruno Cvikl | 2015 | 9439.27 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.52. | 52 |  | FE | SPAJKALNA POSTAJA ZHENXUN ZX-X5V | Spajkalna postaja z optičnim pozicioniranjem in dvoconskim gretjem za spajkanje zahtevnih komponent tipa BGA itd. ZX-X5V. | Miralem Hadžiselimović | 2015 | 9009.4 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.53. | 53 |  | FE | VARILNA NAPRAVA WB-P500L (W) VARILNI IZVOR (EU) INVERTERSKA IZVEDBA | Varjenje jekel in zlitin. | Zdravko Praunseis | 2015 | 8983.68 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.54. | 54 |  | FE | PROGRAMSKA OPREMA JMAG | Programski paket za načrtovanje, simulacijo in analizo elektromagnetnih naprav. | Bojan Štumberger | 2015 | 8976.83 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.55. | 55 |  | FE | GENERATOR – PMGI 6kW 240 - INV | Električni pogon. | Andrej Predin | 2015 | 8589.96 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.56. | 56 |  | FE | GENERATOR – PMGI 3kW 120 - INV | Električni pogon. | Andrej Predin | 2015 | 8589.94 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.57. | 57 |  | FE | GENERATOR – PMGI 5kW 180 - INV | Električni pogon. | Andrej Predin | 2015 | 8589.94 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.58. | 58 |  | FE | SISTEM ZA ZAJEMANJE PODATKOV HBM: 1-MX840 PAKAP (OJAČEVALNIK, NAPAJALNIK, 6X KONEKTOR, ETHERNET KABEL | Merilni sistem. | Andrej Predin | 2015 | 8545.94 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.59. | 59 |  | FE | MERILNIK LCR GW INSTEK 8110G | RLC meritve z visoko točnostjo. | Peter Virtič | 2015 | 8530.7 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.60. | 60 |  | FE | OLJNA PEČ WEISHAUPT S 15 KW KOTLOM | Merjenje izkoristka, temperature dimnih plinov in emisije dimnih plinov | Jurij Avsec | 2015 | 8387.68 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.61. | 61 |  | FE | HRANILNIK ENERGIJE | Hranilni sistem za shranjevanje energije | Sebastijan Seme | 2015 | 8185.66 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.62. | 62 |  | FE | PROGRAMSKA OPREMA ZA TERMIČNO NAČRTOVANJE ELEKTRIČNIH STROJEV - MOTOR-CAD | Motor-CAD omogoča projektantom, da ocenijo motorične topologije in koncepte v celotnem delovnem območju, da izdelajo modele, ki so optimizirani za zmogljivost, učinkovitost in velikost. | Miralem Hadžiselimović | 2015 | 7979.4 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.63. | 63 |  | FE | TERMOGRAFSKA KAMERA FLIR E60 + LEČA IF=10MM, 45° | Termo kamera za električne in mehanske aplikacije. Opremljena je z infrardečim detektorjem 320 x 240 60 Hz s toplotno občutljivostjo 0,05 ° C in temperaturnim razponom od -20 do 650 ° C (-4 do 1202 ° F). | Ivan Žagar | 2015 | 7727.93 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.64. | 64 |  | FE | TERMOGRAFSKA KAMERA FLIR E60 + LEČA IF=10MM, 45° | Termo kamera za električne in mehanske aplikacije. Opremljena je z infrardečim detektorjem 320 x 240 60 Hz s toplotno občutljivostjo 0,05 ° C in temperaturnim razponom od -20 do 650 ° C (-4 do 1202 ° F). | Miralem Hadžiselimović | 2015 | 7727.93 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.65. | 65 |  | FE | TERMOGRAFSKA KAMERA FLIR E60 + LEČA IF=10MM, 45° | Termo kamera za električne in mehanske aplikacije. Opremljena je z infrardečim detektorjem 320 x 240 60 Hz s toplotno občutljivostjo 0,05 ° C in temperaturnim razponom od -20 do 650 ° C (-4 do 1202 ° F). | Ivan Žagar | 2015 | 7727.93 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.66. | 66 |  | FE | VEČFUNKCIJSKI PROCESNI KALIBRATOR ZA POPOLN NADZOR INDUSTRIJSKIH PRETVORNIKOV FLUKE 754 EU | Multifunkcijsko kalibriranje. | Peter Virtič | 2015 | 7499.43 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.67. | 67 |  | FE | 3D TISKALNIK Z DODATKI (3 BARVE + SKENER + PROGRAMSKA OPREMA CUBEPRO) | Mali 3D printer. | Gorazd Hren | 2015 | 7181.46 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.68. | 68 |  | FE | MOTORSKI MODUL 45KW | Električni pogon. | Andrej Predin | 2015 | 7168.57 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.69. | 69 |  | FE | MOTORSKI MODUL 45KW | Električni pogon. | Andrej Predin | 2015 | 7168.57 | 7 (85%), 10 (15%) | 90 | 250
FE.2015.70. | 70 |  | FE | UNIVERZALNI NOTRANJI MERILNIK MIKROKLIME TESTO 435-4 | Več-funkcijski merilnik testo 435-4 primeren za spremljanje, analiziranje in diagnosticiranje kakovosti zraka v zaprtih prostorih, kjer je potrebno opraviti pomembne IAQ meritve. Poleg tega lahko zlahka ugotovite in odpravite težave s sistemi HVAC in takoj vidite rezultate popravkov. Zagon, validacija, primerjalna analiza ali simpatično prilagajanje sistemov HVAC so preprosti s testom 435-4. | Miralem Hadžiselimović | 2015 | 7104.08 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.71. | 71 |  | FE | DESIGNER 15 PROGRAMSKI PAKET ZA NAČRTOVANJE IN MODELIRANJE ELEKTRONSKIH VEZIJ ALTIUM | Najboljša programska oprema za načrtovanje tiskanih vezij in zmogljiva orodja za PCB oblikovalce. Orodja za shematsko zajemanje, postavitev in izdelavo prototipov. EDA/CAD. | Miralem Hadžiselimović | 2015 | 7043.63 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.72. | 72 |  | FE | DIGITALNI OSCILOSKOP R&S RTE 1034, 4X350MHZ, 10MS NA KANAL, 5GS/S NA KANAL, 4X350MHZ SONDE | Simultano merjenje časovnih potekov električnih veličin. | Peter Virtič | 2015 | 7012.2 | 7 (85%), 10 (15%) | 45 | 65
FE.2015.73. | 73 |  | FE | PROGRAMABILNA MULTIFUNKCIJSKA NAPRAVA NI USB-7856R | USB-7856 ima FPGA, ki ga lahko programira uporabnik za visoko zmogljivo vgrajeno obdelavo in neposreden nadzor nad V/I signali za popolno prilagodljivost in sinhronizacijo sistema. Te naprave lahko prilagodite z LabVIEW FPGA modulom, da razvijete aplikacije, ki zahtevajo natančno merjenje časa in nadzora, kot so testiranje strojne opreme v zanki, komunikacija po protokolu po meri, simulacija senzorja in nadzor visoke hitrosti. | Miralem Hadžiselimović | 2015 | 6945.7 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.74. | 74 |  | FE | E-KOLO DH CROSS BI-MOTO 1600 | Električno kolo. | Miralem Hadžiselimović | 2015 | 6907.07 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.75. | 75 |  | FE | TRIFAZNI ANALIZATOR MOTENJ FLUKE 1744 | Fluke 1740 serija trifaznih zapisovalnikov kakovosti električne energije je vsakodnevni merilnik moči za tehnike, ki odpravljajo in analizirajo težave s kakovostjo električne energije. Omogoča hkratno beleženje do 500 parametrov moči do 85 dni in spremljanje dogodkov. Ti energetski zapisovalniki pomagajo odkriti občasne in težko dostopne težave s kakovostjo napajanja. Priložena programska oprema PQ Log hitro ocenjuje kakovost električne energije na vhodu za servisiranje, postaji ali ob obremenitvi, v skladu z najnovejšim standardom EN50160. | Miralem Hadžiselimović | 2015 | 6655.54 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.76. | 76 |  | FE | FREKVENČNI PRETVORNIKI (3 KOM) 400V, 4A, 1,5 KW; 400V, 25A, 11 KW; 400V, 87A, 45KW | Industrijski frekvenčni pretvorniki za pogone s sinhronskimi reluktančnimi motorji in sinhronskimi motorji s trajnimi magneti. | Bojan Štumberger | 2015 | 6568.5 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.77. | 77 |  | FE | DIGITALNI MERILNIK FERITA FMP-30 | Merjenje delta ferrite. | Zdravko Praunseis | 2015 | 6537.67 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.78. | 78 |  | FE | 3D TISKALNIK FFF | Mali 3D printer. | Gorazd Hren | 2015 | 6419.79 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.79. | 79 |  | FE | ANALIZATOR TRDIH DELCEV TESTO 380 | Analiza trdih finih delcev. | Zdravko Praunseis | 2015 | 6280.5 | 7 (85%), 10 (15%) | 45 | 125
FE.2015.80. | 80 |  | FE | ELEKTRIČNI POGONSKI MOTORJI (7 KOM) 1,5 KW, 2,2 KW, 3,0 KW, 4,0 KW, 7,5 KW, 37 KW, 11 KW | Električni sinhronski reluktančni motorji za pogon ventilatorjev in črpalk. | Bojan Štumberger | 2015 | 5244.75 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.81. | 81 |  | FE | PROGRAMSKA OPREMA ZA NASTAVITEV PARAMETROV SCINTILACIJSKEGA GAMA SPEKTROMETRA SCINTIVISION-32 | Programska oprema za spektroskopijo gama žarkov vzorcev iz okolja. | Bruno Cvikl | 2015 | 5192.42 | 7 (85%), 10 (15%) | 46 | 65
FE.2015.82. | 82 |  | FE | SISTEM ZA PRESKUS PITNE VODE | Sistem za preskus pitne vode. | Ivan Žagar | 2015 | 5138.02 | 7 (85%), 10 (15%) | 45 | 85
FE.2015.83. | 83 |  | FE | MULTIFUNKCIJSKI VARNOSTNI TESTER HV005036 Z DODATKI HT960U, IMP57, T2100, HT52/05 | Napredni večnamenski tester za preverjanje električne varnosti zasebnih in industrijskih električnih sistemov. | Miralem Hadžiselimović | 2015 | 5030.02 | 7 (85%), 10 (15%) | 45 | 125
FE.2011.1. | 1 |  | FE | 20 KOM NOS RAČ. PROGR, SEE ELECTRICAL CADDY++ | Programska oprema za pripravo elektrotehniške dokumentacije. | Miralem Hadžiselimović | 2011 | 86550 | 8 | 45 | 125
FE.2011.2. | 2 |  | FE | ANSYS AKADEMSKO RAZISKOVANJE | Programski paket za numerične simulacije. | Gorazd Hren | 2011 | 9504 | 10 | / | /
FE.2011.3. | 3 |  | FE | PROGRAM MATLAB SUITE | MATLAB je programski paket za numerično analizo in programski jezik četrte generacije. | Miralem Hadžiselimović | 2011 | 5420 | 10 | 45 | 125
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE
FE... |  |  | FE

## Legenda
Legenda
Kratica | Članica Univerze v Mariboru
UM | Univerza v Mariboru
FKBV | Fakulteta za kmetijstvo in biosistemske vede
FOV | Fakulteta za organizacijske vede
PEF | Pedagoška fakulteta
FKKT | Fakulteta za kemijo in kemijsko tehnologijo
FS | Fakulteta za strojništvo
FERI | Fakulteta za elektrotehniko, računalništvo in informatiko
FGPA | Fakulteta za gradbeništvo, prometno inženirstvo in arhitekturo
FZV | Fakulteta za zdravstvene vede
MF | Medicinska fakulteta
FNM | Fakulteta za naravoslovje in matematiko
FF | Filozofska Fakulteta
FE | Fakulteta za energetiko
Številka | Vir sofinanciranja
1 | ARRS - paket nakupa raziskovalne opreme
2 | ARRS raziskovalni programi, projekti
3 | ARRS raziskovalni programi, projekti in/ali tržni viri
4 | ARRS raziskovalni programi, projekti in lastna sredstva
5 | ARRS raziskovalni programi, projekti in drugi javni viri
6 | Drugi javni viri in/ali tržni viri
7 | EU sredstva
8 | Tržni viri
9 | Drugi javni viri
10 | Ministrstvo za izobraževanje, znanost in šport
11 | Center za vrtnarstvo in poljedelstvo
12 | Donacija
13 | NATO
14 | Ministrstvo za obrambo
15 | Lek d.d.
16 | Center odličnosti Namaste
17 | Cinkarna Celje
18 | Ministrstvo za okolje in prostor

## Overview of research equipment
Angleški prevod naziva in namembnosti opreme vnesite v zavihek "Overview of research equipment". Preostale vsebine stolpcev se v omenjenem zavihku dopolnijo samodejno.
Internal equipment code (automatic entry) | Zap. štev. | The UM member | Name of the equipment | Equipment purpose | Equipment keeper | Purchase year | Purchase value | Source of (co)financing
FE.2022.1. |  | FE | SAMPLING, GRIDING AND PRESSING KIT | Preparing of samples for chemical analysis | Zdravko Praunseis | 2022 | 7156.63 | 7 (80%), 10 (20%)
FE.2022.2. |  | FE | PDA system | A system for non-invasive measurement of bubble size and 1 component of fluid flow velocity by laser doppler anemometry. | Matej Fike | 2022 | 98673.69 | 7 (80%), 10 (20%)
FE.2022.3. |  | FE | Stereo PIV system | A system for non-invasive 3-component measurement of all three components of fluid flow velocity. | Matej Fike | 2022 | 208316.51 | 7 (80%), 10 (20%)
FE.2021.1. |  | FE | DC SUPPLY SYSTEM | DC supply system consists of bidirectional (regenerative) water cooled 240 kW programmable DC power supply with internal arbitrary waveform generator and water cooled 200 kW DC/AC converter. DC supply system is appropriate for simulation of distributed sources, simulation of battery systems and e-mobility applications. | Bojan Štumberger | 2021 | 442376.12 | 7 (80%), 10 (20%)
FE.2021.2. |  | FE | FREQUENCY CONVERTER 160 kW | Frequency converter (160 kW) appropriate for variable AC supply of induction, permanent magnet synchronous motors, permanent magnet assisted synchronous reluctance motors and synchronous reluctance motors with appropriate close and open loop control algorithms. | Bojan Štumberger | 2021 | 81456.88 | 7 (80%), 10 (20%)
FE.2021.3. |  | FE | ADVANCED MEASURING SYSTEM FOR MEASURING ELECTRICITY PRODUCTION OF DISPERSED SOURCES | Measuring system for measuring AC and DC electrical quantities on dual-axis photovoltaic tracking systems. The measuring system also includes an existing measuring system for measuring meteorological parameters, which is connected to the SCADA system and allows easy monitoring and data collection for further analysis. | Sebastijan Seme | 2021 | 73999.92 | 7 (80%), 10 (20%)
FE.2021.4. |  | FE | TERMOELECTRIC SOLAR SYSTEM | The thermoelectric solar system ensures the production of electrical and thermal energy. Thermal energy is stored in the thermal storage tank for additional heating needs. A cooling unit is also included in the system, which provides additional safety in the event of high temperatures in the thermal storage tank. The system is connected to the SCADA control system, which enables easy monitoring and data collection for further analyzes. | Sebastijan Seme | 2021 | 54592.26 | 7 (80%), 10 (20%)
FE.2021.5. |  | FE | ENERGY STORAGE SYSTEM | The energy storage system with a battery module is connected to the thermoelectric solar systems and covers the electricity consumption of the self-sufficient energy facility. The system is connected to the SCADA control system, which enables easy monitoring and data collection for further analyzes. | Sebastijan Seme | 2021 | 27569.03 | 7 (80%), 10 (20%)
FE.2021.6. |  | FE | WELDING ROBOT 6 AXIS ARM WITH MOBILE CHAMBER | Welding robot 6 axis arm with mobile chamber enable high precision sensing for workpiece position detecting and high weld quality and reliability. | Zdravko Praunseis | 2021 | 119489.56 | 7 (80%), 10 (20%)
FE.2021.7. |  | FE | TEMPERATURE TESTING CHAMBER | Temperature testing chamber is a specialized equipment used for material testing of all kind of materials from -180 to 1250 degrees celsius. | Zdravko Praunseis | 2121 | 210169.37 | 7 (80%), 10 (20%)
FE.2015.1. | 1 | FE | ELECTRICAL MACHINE AND DRIVE (CONTROL UNITS, POWER UNIT, POWER PLANT, 3D ADJUSTABLE WORKBENCHES, MEASURING STATIONS): 670 kVA SYNCHRONOUS GENERATOR; TORQUE SENSORS (8 PCS), MEASURING BEAMS, CABLES, CLUTCHES; MEASURING PLACE 1 (up to 192 kW at 1500 rpm, maksimal speed 2200 rpm), MEASURING PLACE 2 (up to 70 kW at maksimal speed 15000 rpm), MEASURING PLACE 3 (up to 5 kW at maksimal speed 30000 rpm). | Measuring stations for development and research in the field of high-performance electrical machines and drives (160 kW at a rotational speed of 1500 rpm, 70 kW at a rotational speed of 15000 rpm, 5 kW at a rotational speed of 30000 rpm). | Miralem Hadžiselimović | 2015 | 597065.85 | 7 (85%), 10 (15%)
FE.2015.2. | 2 | FE | ENVISIONTEC PERFACTORY XEDE 3SP 3D PRINTER | High-quality 3D print; larger peaces up to 450x450x450. | Gorazd Hren | 2015 | 333230.63 | 7 (85%), 10 (15%)
FE.2015.3. | 3 | FE | SYSTEM FOR QUANTITATIVE DETERMINATION OF MATERIAL, DETERMINATION OF CALORIMETRIC VALUES | Experimental research work in thermodynamics. | Jurij Avsec | 2015 | 305835.89 | 7 (85%), 10 (15%)
FE.2015.4. | 4 | FE | SOLAR POWER PLANTS (TRACKING SOLAR POWER PLANTS) WITH SENSOR SYSTEM | Solar power plants of total installed power 55 kW. Various types of solar modules (polycrystalline, monocrystalline) and various types of inverters are used. | Sebastijan Seme | 2015 | 235856.05 | 7 (85%), 10 (15%)
FE.2015.5. | 5 | FE | TWO-SCREEN SYSTEM FOR INTERACTIVE 3D VISUALIZATION | High-quality system for virtual reality. | Gorazd Hren | 2015 | 194493.7 | 7 (85%), 10 (15%)
FE.2015.6. | 6 | FE | HIGH PERFORMANCE COMPUTER SYSTEM | 12 computing servers with the following features: - 2 x Intel E5-2650v3 processor, each with 10 cores and a speed of at least 2.3 GHz; - 10 x memory module 8GB and DDR4-17000 speed; - 1x hard drive 1TB; - 2 pending management server with features; 1x processor E5-2640v3; - 4x memory module, each of 16 GB and DDR4-17000 speed; - 6x Hard Drive 600 GB SAS 10k RPM in RAID-5; - redundant power supply; - redundant connection to the external disk system (8Gb FC); - 1 disk system with features; - 90 TB raw capacity, 4TB drive modules; - redundant power supply; - 8 pieces of research workstation with features; - 2 CPU E5-2640L v3 - 2.6GHz; - 32GB DDR4 memory; - 1TB hard drive; - Graphics card NVIDIA Quadro K2200 4GB. | Sebastijan Seme | 2015 | 178485.39 | 7 (85%), 10 (15%)
FE.2015.7. | 7 | FE | ZWICK Z100THW FRACTURE-MECHANICAL MACHINE WITH EQUIPMENT | Fracture mechanics testing of materials. | Zdravko Praunseis | 2015 | 160675.39 | 7 (85%), 10 (15%)
FE.2015.8. | 8 | FE | VACUUM NANO EXHAUST SYSTEM 36 | Vacuum deposition of semiconductor thin films for neutron sensors. | Bruno Cvikl | 2015 | 125467.51 | 7 (85%), 10 (15%)
FE.2015.9. | 9 | FE | CORRELATION, CYCLIC PHENOMENA, SCRIPTING AND MATLAB LINK | The LDA system for non-intrusive measurements of 2 components of velocity at a point in space as a function of time. | Matej Fike | 2015 | 108191.2 | 7 (85%), 10 (15%)
FE.2015.10. | 10 | FE | SCANNER WITH 3D CAMERA FOR PERMANENT MAGNETS ANALYSIS | 3D recording of magnetic fields of permanent magnets. | Peter Virtič | 2015 | 93395.25 | 7 (85%), 10 (15%)
FE.2015.11. | 11 | FE | WATER MEASURING LINE | Water measuring test ring. | Andrej Predin | 2015 | 78836 | 7 (85%), 10 (15%)
FE.2015.12. | 12 | FE | MEASURING SYSTEM FOR MEASURING MAGNETIC PROPERTIES OF SOFT MAGNETIC MATERIALS | BH characteristics measurements of soft magnetic materials. | Peter Virtič | 2015 | 60643.44 | 7 (85%), 10 (15%)
FE.2015.13. | 13 | FE | EXPERIMENTAL SYSTEM FOR MEASURING ELECTRICAL MACHINES FOR ELECTRIC FOUR AND TWO-WHEEL DRIVERS | Simultaneous measurement of quantities in electrical machines. | Peter Virtič | 2015 | 50778 | 7 (85%), 10 (15%)
FE.2015.14. | 14 | FE | AIR MEASURING RING (WIND TUNNEL) | Air measuring test ring. | Andrej Predin | 2015 | 48744 | 7 (85%), 10 (15%)
FE.2015.15. | 15 | FE | SLIM LAYER METER - PROFILMETER ALPHASTEP D-500 STYLUS PROFILER | Stylus type equipment for thickness measurements of deposited thin semiconductor films. | Bruno Cvikl | 2015 | 46357.02 | 7 (85%), 10 (15%)
FE.2015.16. | 16 | FE | SEMICONDUCTOR PARAMETERIZATION SYSTEM | Characterisation of solid-state nuclear sensors. | Bruno Cvikl | 2015 | 40944.96 | 7 (85%), 10 (15%)
FE.2015.17. | 17 | FE | KEYSIGHT CONNECTOR ANALYSIS 2 INPUT 9KHZ TO 9 GHZ WITH POWER SUPPLY | Circuit analyzer, 2 inputs, 9kHz - 9 GHz with power supply circuit. | Miralem Hadžiselimović | 2015 | 40349.65 | 7 (85%), 10 (15%)
FE.2015.18. | 18 | FE | ANSYS MULTIPHYSICS CAMPUS SOLUTION PROGRAM 10/100 | Software package for numerical simulations. | Gorazd Hren | 2015 | 36995.4 | 7 (85%), 10 (15%)
FE.2015.19. | 19 | FE | WT1806 POWER ANALYZER | Simultaneous measurement of electrical quantities. | Peter Virtič | 2015 | 35888.68 | 7 (85%), 10 (15%)
FE.2015.20. | 20 | FE | WT1806 POWER ANALYZER | The WT1800 offers innovative measurement functions for testing product efficiency and the design of inverters, motor drives, lighting systems, uninterpretable power supplies, aircraft power systems, transformer testing, and other power conversion devices. Although the WT1800 is still available, the newer WT1800E offers higher accuracy power measurement. | Miralem Hadžiselimović | 2015 | 35888.68 | 7 (85%), 10 (15%)
FE.2015.21. | 21 | FE | PORTABLE XRF SPECTRAL MATERIAL ANALYZER NITON XL3T 980 GOLDD + | Chemical analysis of materials. | Zdravko Praunseis | 2015 | 32766.92 | 7 (85%), 10 (15%)
FE.2015.22. | 22 | FE | OPTICAL MICROSCOPE FOR INSPECTION OF MATERIALS ZEISS AXIO IMAGER A2M & AXIO VISION SE64, 6-POSITION OBJ | Optical microscopy. | Zdravko Praunseis | 2015 | 32198.46 | 7 (85%), 10 (15%)
FE.2015.23. | 23 | FE | 3D TRAVERSING SYSTEM: MECHANISM RANGE, CONTROLLER, LINE VOLTAGE 100-250V | Measuring system drive. | Andrej Predin | 2015 | 25605.02 | 7 (85%), 10 (15%)
FE.2015.24. | 24 | FE | STATIONARY TRICKER VICKERS VH1150 | Microhardness measurement. | Zdravko Praunseis | 2015 | 20275.24 | 7 (85%), 10 (15%)
FE.2015.25. | 25 | FE | 4-CYLINDER DIESEL ENGINE | Research and pedagogical work on internal combustion engines. | Jurij Avsec | 2015 | 20069.4 | 7 (85%), 10 (15%)
FE.2015.26. | 26 | FE | ULTRASONIC METER FOR LEAK DETECTION IN PRESSURE OR VACUUM SYSTEMS ULTRAPROBE 15000 | The Ultraprobe® 15,000 has a durable, tough and easy to clean touch screen operating system. The digital technology offers us the possibility to always be 1 to 3 clicks away from the point where you need to be, making this the most efficient ultrasound inspection tool in the world! | Miralem Hadžiselimović | 2015 | 19428.63 | 7 (85%), 10 (15%)
FE.2015.27. | 27 | FE | GABI LIFE CYCLE ASSESSMENT PACKAGE WITH ECOINVENT DATABASE | Software for life cycle assessment LCA. | Peter Virtič | 2015 | 18890.63 | 7 (85%), 10 (15%)
FE.2015.28. | 28 | FE | THERMAL TESTO CAMERA 890-2 | Inspection of Buildings. | Zdravko Praunseis | 2015 | 16321.55 | 7 (85%), 10 (15%)
FE.2015.29. | 29 | FE | SKYHERO QUADROCOPTER SYSTEM FOR THERMO-VISION INSPECTIONS | Unmanned multi-core system (drone) with an optical and thermal camera and base station. | Miralem Hadžiselimović | 2015 | 16228.17 | 7 (85%), 10 (15%)
FE.2015.30. | 30 | FE | KEYSIGHT OSCILOSCOPE, 1GHZ, DSOX3APPBNDL, N2779 POWER SUPPLY WITH ACCESSORIES | The DSOX3APPBNDL is an Application Bundle for InfiniiVision 3000 X-Series Oscilloscopes. It provides superior visualization of your signal with the fastest waveform update rate and the largest display in this class. Ultimate instrument integration with the power of up to 5 integrated instruments: oscilloscope, digital channels (MSO), integrated WaveGen function / arbitrary waveform generator, integrated digital voltmeter and a serial protocol analyzer. | Miralem Hadžiselimović | 2015 | 16090.98 | 7 (85%), 10 (15%)
FE.2015.31. | 31 | FE | ALFA SPEKTROMETER SINGLE INPUT NIM SPECTOMETER, 450 MM2 LOW-BACKGROUND ULTRA-AS DETECTOR, PORTABLE P | Nuclear alpha-ray spectroscopy of environmental samples. | Bruno Cvikl | 2015 | 16085.27 | 7 (85%), 10 (15%)
FE.2015.32. | 32 | FE | SPEED ELECTROMAGNETIC ANALYSIS SOFTWARE | Software for electromagnetic analysis of electrical machines. | Peter Virtič | 2015 | 15112.5 | 7 (85%), 10 (15%)
FE.2015.33. | 33 | FE | ECOMET 250 PRO GRINDING AND POLISHING AUTOMATIC APPLIANCE + AUTOMET 250 PRO, ALUMINUM PANEL, FER | Polishing of specimens. | Zdravko Praunseis | 2015 | 15101.99 | 7 (85%), 10 (15%)
FE.2015.34. | 34 | FE | ENGINE MODULE 160KW | Motor drive. | Andrej Predin | 2015 | 15094.15 | 7 (85%), 10 (15%)
FE.2015.35. | 35 | FE | LABR3 SCINTILATION DETECTOR (CE) | Nuclear gamma-ray spectroscopy of environmental samples. | Bruno Cvikl | 2015 | 14967.52 | 7 (85%), 10 (15%)
FE.2015.36. | 36 | FE | ELECTRIC CHARGING STATION | The equipment is intended for charging of electric vehicles. At the charging station, measurements of the impact of charging on the electricity grid can be performed. | Sebastijan Seme | 2015 | 14680.23 | 7 (85%), 10 (15%)
FE.2015.37. | 37 | FE | 1KNM TORQUE SENSOR | Measurement of torque. | Peter Virtič | 2015 | 14504.37 | 7 (85%), 10 (15%)
FE.2015.38. | 38 | FE | MECHANICAL CLUTCHES - 19 PCS | Mechanical coupling. | Miralem Hadžiselimović | 2015 | 14465.6 | 7 (85%), 10 (15%)
FE.2015.39. | 39 | FE | AVTOTRANFROMER | Auto-transformer 180 kVA, 400 V, 50 Hz, 60 A. | Miralem Hadžiselimović | 2015 | 14362.92 | 7 (85%), 10 (15%)
FE.2015.40. | 40 | FE | SMOKE GAS ANALYZER TESTO 350 + SOFTWARE + KIT | Analysis of smoke gases. | Zdravko Praunseis | 2015 | 13881.8 | 7 (85%), 10 (15%)
FE.2015.41. | 41 | FE | WIRELESS TORQUE SENSOR FOR INSTALLATION | Measuring torque on the wheel. | Peter Virtič | 2015 | 13383.63 | 7 (85%), 10 (15%)
FE.2015.42. | 42 | FE | DIGITAL ULTRASONIC APPARATUS USM 36 S Z UM31, MB 4 S, MSEB 4, MWB45-4, MWB 60-4, MWB 70-4, PKLL2, MP | NDT inspection. | Zdravko Praunseis | 2015 | 12528.14 | 7 (85%), 10 (15%)
FE.2015.43. | 43 | FE | ABRASIMET 250 METAL TABLE CUTTER, 60L CUTTING PLATE COOLING SYSTEM, LEFT SLIDING VISE | Cutting of specimens. | Zdravko Praunseis | 2015 | 11705.6 | 7 (85%), 10 (15%)
FE.2015.44. | 44 | FE | CENTRING DEVICE-4PCS | Centring. | Peter Virtič | 2015 | 11442.53 | 7 (85%), 10 (15%)
FE.2015.45. | 45 | FE | AMBE NEUTRON SOURCE CF-252, INITIAL ACTIVITY 185KBQ | Neutron source for the characterisation of nuclear radiation sensors. | Bruno Cvikl | 2015 | 11144.39 | 7 (85%), 10 (15%)
FE.2015.46. | 46 | FE | NIGHTHAWK THERMAL P2 AERIAL KIT QUADROCOPTER SYSTEM | Thermal inspection of energy facilities at higher altitudes. | Jurij Avsec | 2015 | 10666.76 | 7 (85%), 10 (15%)
FE.2015.47. | 47 | FE | FLUKE 810 VIBRATION ANALYZER | Measuring vibrations of rotating systems. | Jurij Avsec | 2015 | 10309.14 | 7 (85%), 10 (15%)
FE.2015.48. | 48 | FE | MOBILE MULTIPLE FUNCTION UNIT (MEASURING INSTRUMENT) WITH RELATED INSTRUMENTS: FLOW METER, MEASUREMENT | Measurement of consumption and energy analysis of leakage calculations in compressed air systems (flowmeter, measuring probe, humidity meter (including measuring chamber), pressure sensor (0-16bar), measurement clamp). | Miralem Hadžiselimović | 2015 | 10166.48 | 7 (85%), 10 (15%)
FE.2015.49. | 49 | FE | BOSCH KTS 990 MOBILE DIAGNOSTIC SYSTEM | Diagnostics of engines. | Zdravko Praunseis | 2015 | 10063.78 | 7 (85%), 10 (15%)
FE.2015.50. | 50 | FE | KATFLOW230 PORTABLE ULTRASONIC FLOW MEASURER WITH SENSORS | The KATflow 230 is easily portable but incorporates an advanced specification for situations which require comprehensive measurement features coupled with easy operation. The flowmeter has two measurement channels, which allow it to monitor two pipes simultaneously or to improve accuracy in non-ideal conditions. The KATflow 230 can also be supplied with a variety of options to meet the most diverse application requirements. | Miralem Hadžiselimović | 2015 | 9563.19 | 7 (85%), 10 (15%)
FE.2015.51. | 51 | FE | ALPHAVISION SOFTWARE FOR THE ANALYSIS OF ALPHA SPECTRUMS | Nuclear Spectroscopy of environmental samples. | Bruno Cvikl | 2015 | 9439.27 | 7 (85%), 10 (15%)
FE.2015.52. | 52 | FE | ZHENXUN ZX-X5V SOLDERING STATION | Soldering station with optical positioning and two-zone heating for soldering of demanding components of type BGA etc. ZX-X5V. | Miralem Hadžiselimović | 2015 | 9009.4 | 7 (85%), 10 (15%)
FE.2015.53. | 53 | FE | WELDING DEVICE WB-P500L (W) WELDING SOURCE (EU) INVERTER VERSION | Steel and Alloys Welding. | Zdravko Praunseis | 2015 | 8983.68 | 7 (85%), 10 (15%)
FE.2015.54. | 54 | FE | JMAG SOFTWARE | The program package for design, simulation and analysis of electrical and electromagnetic devices. | Bojan Štumberger | 2015 | 8976.83 | 7 (85%), 10 (15%)
FE.2015.55. | 55 | FE | GENERATOR – PMGI 6kW 240 - INV | Motor drive. | Andrej Predin | 2015 | 8589.96 | 7 (85%), 10 (15%)
FE.2015.56. | 56 | FE | GENERATOR – PMGI 3kW 120 - INV | Motor drive. | Andrej Predin | 2015 | 8589.94 | 7 (85%), 10 (15%)
FE.2015.57. | 57 | FE | GENERATOR – PMGI 5kW 180 - INV | Motor drive. | Andrej Predin | 2015 | 8589.94 | 7 (85%), 10 (15%)
FE.2015.58. | 58 | FE | HBM DATA RECORDING SYSTEM: 1-MX840 PAKAP (AMPLIFIER, POWER SUPPLY, 6X CONNECTOR, ETHERNET CABLE | Measuring system. | Andrej Predin | 2015 | 8545.94 | 7 (85%), 10 (15%)
FE.2015.59. | 59 | FE | LCR GW INSTEK 8110G METER | RLC measurements with high accuracy. | Peter Virtič | 2015 | 8530.7 | 7 (85%), 10 (15%)
FE.2015.60. | 60 | FE | WEISHAUPT OIL BURNER WITH 15 KW BOILER | Measurement of efficiency, exhaust gas temperature and exhaust gas emissions | Jurij Avsec | 2015 | 8387.68 | 7 (85%), 10 (15%)
FE.2015.61. | 61 | FE | ENERGY STORAGE | Energy storage system | Sebastijan Seme | 2015 | 8185.66 | 7 (85%), 10 (15%)
FE.2015.62. | 62 | FE | SOFTWARE FOR THERMAL PLANNING OF ELECTRICAL MACHINERY - MOTOR-CAD | Motor-CAD enables design engineers to evaluate motor topologies and concepts across the full operating range, to produce designs that are optimised for performance, efficiency and size. | Miralem Hadžiselimović | 2015 | 7979.4 | 7 (85%), 10 (15%)
FE.2015.63. | 63 | FE | FLIR E60 THERMOGRAPHIC CAMERA + LENS IF = 10MM, 45 ° | Thermal Imaging Camera for electrical and mechanical applications. Features a 320 x 240 60Hz infrared detector with a 0.05°C thermal sensitivity and a -20 to 650°C (-4 to 1202°F) temperature range. | Ivan Žagar | 2015 | 7727.93 | 7 (85%), 10 (15%)
FE.2015.64. | 64 | FE | FLIR E60 THERMOGRAPHIC CAMERA + LENS IF = 10MM, 45 ° | Thermal Imaging Camera for electrical and mechanical applications. Features a 320 x 240 60Hz infrared detector with a 0.05°C thermal sensitivity and a -20 to 650°C (-4 to 1202°F) temperature range. | Miralem Hadžiselimović | 2015 | 7727.93 | 7 (85%), 10 (15%)
FE.2015.65. | 65 | FE | FLIR E60 THERMOGRAPHIC CAMERA + LENS IF = 10MM, 45 ° | Thermal Imaging Camera for electrical and mechanical applications. Features a 320 x 240 60Hz infrared detector with a 0.05°C thermal sensitivity and a -20 to 650°C (-4 to 1202°F) temperature range. | Ivan Žagar | 2015 | 7727.93 | 7 (85%), 10 (15%)
FE.2015.66. | 66 | FE | MULTIFUNCTION PROCESS CALIBRATOR FOR COMPLETE CONTROL OF FLUKE 754 EU INDUSTRIAL CONVERTERS | Multifunctional calibration. | Peter Virtič | 2015 | 7499.43 | 7 (85%), 10 (15%)
FE.2015.67. | 67 | FE | 3D PRINTER WITH ADD-ONS (3 COLORS + SCANNER + CUBEPRO SOFTWARE) | Small 3D printer. | Gorazd Hren | 2015 | 7181.46 | 7 (85%), 10 (15%)
FE.2015.68. | 68 | FE | MOTOR MODULE 45KW | Motor drive. | Andrej Predin | 2015 | 7168.57 | 7 (85%), 10 (15%)
FE.2015.69. | 69 | FE | MOTOR MODULE 45KW | Motor drive. | Andrej Predin | 2015 | 7168.57 | 7 (85%), 10 (15%)
FE.2015.70. | 70 | FE | UNIVERSAL INTERNAL MICROCLIMATE TESTER TESTO 435-4 | The testo 435-4 multifunction meter is perfect for monitoring, analyzing, and diagnosing indoor air quality, wherever you need to take important IAQ measurements. In addition, you can easily pinpoint and troubleshoot problems with HVAC systems, and immediately see the results of corrections. Commissioning, validating, benchmarking, or simpy adjusting HVAC systems are all easy with the testo 435-4. | Miralem Hadžiselimović | 2015 | 7104.08 | 7 (85%), 10 (15%)
FE.2015.71. | 71 | FE | DESIGNER 15 SOFTWARE PACKAGE ALTIUM FOR DESIGNING AND MODELING ELECTRONIC CIRCUITS | The best PCB design software and high-powered tools for PCB designers. Industry-leading schematic capture, layout and prototyping tools. EDA/CAD. | Miralem Hadžiselimović | 2015 | 7043.63 | 7 (85%), 10 (15%)
FE.2015.72. | 72 | FE | R&S RTE 1034 DIGITAL OSCILLOSCOPE, 4X350MHZ, 10MS PER CHANNEL, 5GS/S PER CHANNEL, 4X350MHZ PROBES | Simultaneous measurement of time-dependent electrical quantities. | Peter Virtič | 2015 | 7012.2 | 7 (85%), 10 (15%)
FE.2015.73. | 73 | FE | PROGRAMMABLE MULTIFUNCTION DEVICE NI USB-7856R | The NI USB-7856 features a user-programmable FPGA for high-performance onboard processing and direct control over I/O signals for complete flexibility of system timing and synchronization. You can customize these devices with the LabVIEW FPGA Module to develop applications requiring precise timing and control, such as hardware-in-the-loop testing, custom protocol communication, sensor simulation, and high-speed control. | Miralem Hadžiselimović | 2015 | 6945.7 | 7 (85%), 10 (15%)
FE.2015.74. | 74 | FE | DH CROSS BI-MOTO 1600 E-BIKE | Electrical bike. | Miralem Hadžiselimović | 2015 | 6907.07 | 7 (85%), 10 (15%)
FE.2015.75. | 75 | FE | THREE-PHASE POWER QUALITY LOGGER FLUKE 1744 | The Fluke 1740 Series of three-phase power quality loggers is an everyday power meter for technicians who troubleshoot and analyze power quality issues. Capable of simultaneously logging up to 500 power parameters for up to 85 days and monitoring events, these power loggers help uncover intermittent and hard-to-find power quality issues. The included PQ Log software quickly evaluates the power quality at the service entrance, substation, or the load, according to the latest EN50160 standard. | Miralem Hadžiselimović | 2015 | 6655.54 | 7 (85%), 10 (15%)
FE.2015.76. | 76 | FE | FREQUENCY CONVERTERS (3 PCS) 400V, 4A, 1.5 KW; 400V, 25A, 11 KW; 400V, 87A, 45KW | The industrial frequency converters appropriate for permanent magnet motors and synchronous reluctance motors drives. | Bojan Štumberger | 2015 | 6568.5 | 7 (85%), 10 (15%)
FE.2015.77. | 77 | FE | DIGITAL METER FERITA FMP-30 | Delta ferrite measurement. | Zdravko Praunseis | 2015 | 6537.67 | 7 (85%), 10 (15%)
FE.2015.78. | 78 | FE | 3D FFF PRINTER | Small 3D printer. | Gorazd Hren | 2015 | 6419.79 | 7 (85%), 10 (15%)
FE.2015.79. | 79 | FE | TESTO 380 FINE PARTICLE ANALYZER | Analysis of fine dust particles. | Zdravko Praunseis | 2015 | 6280.5 | 7 (85%), 10 (15%)
FE.2015.80. | 80 | FE | ELECTRIC DRIVE ENGINES (7 PCS) 1.5 KW, 2.2 KW, 3.0 KW, 4.0 KW, 7.5 KW, 37 KW, 11 KW | Electric synchronous reluctance motors for fan and pump drives. | Bojan Štumberger | 2015 | 5244.75 | 7 (85%), 10 (15%)
FE.2015.81. | 81 | FE | SOFTWARE FOR THE ADJUSTMENT OF SCINTILLATION GAMMA RAY SPECTRUM PARAMETERS SCINTIVISION-32 | Software for gamma-ray spectroscopy of environmental samples. | Bruno Cvikl | 2015 | 5192.42 | 7 (85%), 10 (15%)
FE.2015.82. | 82 | FE | DRINKING WATER TEST SYSTEM | Drinking water test system. | Ivan Žagar | 2015 | 5138.02 | 7 (85%), 10 (15%)
FE.2015.83. | 83 | FE | HV005036 MULTIFUNCTION SAFETY TESTER WITH ACCESSORIES HT960U, IMP57, T2100, HT52/05 | Advanced multifunction installation tester for verification of electric safety of private and industrial electric systems. | Miralem Hadžiselimović | 2015 | 5030.02 | 7 (85%), 10 (15%)
FE.2011.1. | 1 | FE | 20 PCS SEE ELECTRICAL CADY++ SOFTWARE | Software for drawing up electrical engineering documents. | Miralem Hadžiselimović | 2011 | 86550 | 8
FE.2011.2. | 2 | FE | ANSYS ACADEMIC RESEARCH | Software package for numerical simulations. | Gorazd Hren | 2011 | 9504 | 10
FE.2011.3. | 3 | FE | MATLAB SUITE SOFTWARE | MATLAB is a software package for numerical analysis and programming language of the fourth generation. | Miralem Hadžiselimović | 2011 | 5420 | 10
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0
FE... | 0 | FE |  |  | 0 | 0 | 0 | 0

## Legend
Legend
Abbreviation | The University of Maribor member
UM | University of Maribor
FKBV | Faculty of Agriculture and Life Sciences
FOV | Faculty of Organizational Sciences
PEF | Faculty of Education
FKKT | Faculty of Chemistry and Chemical Engineering
FS | Faculty of Mechanical Engineering
FERI | Faculty of Electrical Engineering and Computer Science
FGPA | Faculty of Civil Engineering, Transportation Engineering and Architecture
FZV | Faculty of Health Sciences
MF | Faculty of Medicine
FNM | Faculty of Natural Sciences and Mathematics
FF | Faculty of Arts
FE | Faculty of Energy Technology
Code | Sources of Co-financing
1 | ARRS - purchase packages
2 | ARRS research programs, projects
3 | ARRS research programs and projects and/or market resources
4 | ARRS research programs, projects and own resources
5 | ARRS research programs, projects and public resources
6 | Other public and/or market sources
7 | EU projects
8 | Market resources
9 | Other public resources
10 | Ministry of Education, Science and Sport
11 | Center for Horticulture and Agriculture
12 | Donation
13 | NATO
14 | Ministry of Defence
15 | Lek
16 | Centre of Excellence NAMASTE
17 | Cinkarna Celje
18 | Ministry of the Environment and Spatial Planning